# TERRESTRIAL MANUAL REVISION: ADVICE FOR MEMBER COUNTRY COMMENTS

Chapter Number and Title: Chapter 3.9.6. Listeria monocytogenes

Country making the comments:

Date:

It would be appreciated if the following guidance is followed when making a reply:

1.	Comments may be general or specific, but specific comments are more valuable. General comments should be such that some conclusion and action can be taken in response to them. For example, instead of stating “This test is no longer used in our laboratory”, indicate the reasons the test is no longer used and what test is used instead.

2.	Specific comments should be identified by indicating the line number in the text, to facilitate the editorial process.

3.	Highlighting typing or technical errors is welcome, but the correct word or figure should be indicated in its place. For example, instead of indicating simply “0.8 M is too high”, the preferred value should also be indicated.

4.	Bear in mind that the introductory chapters (Part 1 of the Terrestrial Manual) set general standards for the management of veterinary diagnostic laboratories and vaccine facilities and are not intended to be exhaustive, and indeed none of the chapters can give a completely comprehensive cover of the subject, otherwise the Terrestrial Manual would be too long. However, assistance in indicating priorities is always helpful.

5.	The Terrestrial Manual is intended for world-wide use. The chapters need to reflect the development of new technology, while maintaining the established methods, usually requiring less sophisticated apparatus. New technology should not be described in detail until it has gained wide acceptance as a reliable method.

6.	We recommend that if you have no specific comments, please respond to the OIE to that effect.

7.	Any comments, proposed changes or revisions should be supported by clear evidence (the scientific rationale) such that some conclusion and action can be taken in response to them.

Your participation in the OIE Standard-setting process is valued. Thank you for your engagement in the process!

General Comments

Specific Comments (add continuation sheets if required)

line:

Chapter Chapter 3.9.6.

listeria monocytogenes

SUMMARY

Listeria monocytogenes is a Gram-positive facultative anaerobe. A wide variety of animal species can be infected with Listeria monocytogenes, but clinical listeriosis in animals is mainly a ruminant disease, with occasional sporadic cases in other species. The main clinical manifestations of animal listeriosis are encephalitis, septicaemia and abortion, and the disease is often associated with stored forages, usually silage, and contaminated farm environments. Post-mortem findings and histopathology depend on the clinical presentation.

Listeriosis is one of the most important severe food-borne diseases of humans. The disease manifestations include septicaemia, meningitis (or meningoencephalitis) and encephalitis. In pregnant women, intrauterine or cervical infections may result in spontaneous abortion or stillbirths (maternal neonatal listeriosis), and may be preceded by influenza-like signs, including fever. Listeria monocytogenes has also been associated with gastroenteric manifestations with fever, and, rarely, with cutaneous or eye infections reported by veterinarians and farmers. Although the morbidity of listeriosis is relatively low, the mortality of the systemic/encephalitic disease can be very high, with values in the vicinity of 20–30%. In Europe, the hospitalisation rate is estimated at more than 95%. The elderly, pregnant women, newborns and the immunocompromised are considered to be at high risk of contracting the disease.

A number of molecular and cellular determinants of virulence have been identified for this facultative intracellular pathogen, and although there is evidence of polymorphism among different strains of L. monocytogenes for some of these virulence determinants, this. This heterogeneity cannot be is correlated with the ability or inability of the organism to produce cause forms of the disease. The definition of hypervirulent and hypovirulent clones for L. monocytogenes was established from clones that were epidemiologically associated either with food or with the human central nervous system or maternal neonatal listeriosis. For ruminants, a strong association of sequence type ST1 (obtained by multi-locus sequence typing) with rhombencephalitis has been observed, suggesting its neurotropism. New information from Whole genome sequencing may change this view will provide more precise insights in the coming years. Therefore, all L. monocytogenes strains are considered to be potentially pathogenic.

Identification Detection of the agent: A variety of conventional and rapid methods are available for the detection and identification of L. monocytogenes in primary production, feed and food samples, food processing environment samples and specimens from animal listeriosis. Conventional bacteriological methods remain the ‘gold standard’ against which other methods are validated. These methods use selective agents and enrichment procedures to reduce the number of competitive microflora contaminating microorganisms and allow multiplication of L. monocytogenes. Development of chromogenic media and polymerase chain reaction methods has allowed more reliable detection of this microorganism. Recently, rapid identification of strains was improved with matrix-assisted laser desorption ionisation – time of flight (MALDI-TOF) mass spectrometry. Immunohistochemical detection of L. monocytogenes antigens is a useful tool for the diagnosis of the encephalitic form of the disease.

Although not required for regulatory purposes, different levels of subtyping of L. monocytogenes strains are available, including serotyping by classical agglutination or polymerase chain reaction grouping, and whole-genome sequencing, which replaced pulse-field gel electrophoresis at the international level as the reference method for subtyping L. monocytogenes. The structure of population and phylogeny may be studied by multi-locus sequence typing. Subtyping tests have been are standardised and validated at the international level by the World Health Organization collaborative trials and the PulseNet International Network.

Serological tests: Serological tests for the detection of antibodies have not been traditionally used for the diagnosis of listeriosis. A number of formats have been tried and they have all been found to be largely unreliable, lacking sensitivity and specificity. Experimental serological assays based on the detection of anti-listeriolysin O have been used in some epidemiological investigations and as support for the diagnosis of culture-negative central nervous system infections.

Requirements for vaccines: Although experimental vaccines in laboratory animals are being explored, it has proven very difficult to develop effective vaccines against L. monocytogenes, which, as an intracellular microorganism, requires effector T cells for an effective immune response. Experimental vaccines in laboratory animals are being explored to confer protection to L. monocytogenes infection by a number of different approaches, including immunisation with plasmid DNA, CD40 signalling along with heat-killed L. monocytogenes, listeriolysin O-deficient mutants inoculated along with liposome-encapsulated listeriolysin O, and immunisation with listerial antigens and IL-12.

A.  INTRODUCTION

A wide variety of animal species can be infected by Listeria monocytogenes, including mammals, birds, fish and crustaceans (Table 1), although most clinical listeriosis cases occur in ruminants; pigs rarely develop disease and birds are generally subclinical carriers of the organism (Dhama et al., 2015). Greatest attention is placed on infection of dairy and beef cattle, or sheep and goats, according to the country or region. Most infections in animals are subclinical, but invasive disease can occur either sporadically or as an outbreak. In addition to the economic impact of listeriosis in ruminants and other animal species, ruminants may play a role as a source of infection for humans, primarily from consumption of contaminated animal products. Individual risk factors for ruminants are still poorly understood (Walland et al., 2015). Circulation of L. monocytogenes among animals, humans and various environments remains poorly understood as if it is restricted to specific L. monocytogenes subtypes (Walland et al., 2015). Direct transmission from infected animals, especially during calving or lambing (Wesley, 2007) can occur but these infections are very rare (Wesley et al., 2007). Animals kept in zoological or other wildlife parks have occasionally been reported with listeriosis, such as Celebese ape, bushy-tailed jirds, adult cougar and wild-caught monkeys (Czuprynski et al., 2010). The relative importance of the direct zoonotic transmission of the disease to humans is not clear, and contamination from the food-processing environment is of greater public health importance (Roberts & Wiedmann, 2003).

Table 1. Species with reported isolation of Listeria monocytogenes

|  |  | Mammals |  |  |
| --- | --- | --- | --- | --- |
| Cattle | Cats | Rabbits | Sheep | Deer |
| Guinea-pigs | Goats | Raccoons | Chinchillas | Pigs |
| Rats | Skunks | Horses | Mice | Mink |
| Dogs | Lemmings | Ferrets | Foxes | Voles |
| Moose | Humans | Monkeys | Moose | Otter |
| Gerbils | Cougar | Buffalos | Camel |  |
|  |  | Birds |  |  |
| Canaries | Ducks | Owls | Chaffinches | Eagles |
| Parrots | Chickens | Geese | Partridges | Cranes |
| Hawks | Pheasants | Doves | Lorikeets | Pigeons |
| Seagulls | Turkeys | Whitegrouse | Whitethroat | Woodgrouse |
| Cockateil | Poults | Turkeys | Snowy owl |  |
|  |  | Others |  |  |
| Frogs | Crustaceans | Ticks | Fish | Ants |
| Flies | Snails |  |  |  |

The clinical manifestations of listeriosis in animals include rhombencephalitis (or in some cases more disseminated encephalitic changes), septicaemia and abortion, especially in sheep, goats and cattle. During an outbreak within a flock or herd, usually only one clinical form of listeriosis is encountered. The rhombencephalitic form is referred to as ‘circling disease’ because of a the affected animal’s tendency to circle in one direction, and it is the most common manifestation of the disease in ruminants. It is also amongst the most common causes of neurological disease in ruminants. Clinical signs include depression, anorexia, head pressing or turning of the head to one side and unilateral cranial nerve paralysis. The latter is due to involvement of cranial nerves and their nuclei within the brainstem. Abortion is usually late term (after 7 months in cattle and 12 weeks in sheep) (Hird & Genigeorgis, 1990; Walker, 1999). The septicaemic form is relatively uncommon and generally, but not invariably, occurs in the neonate. It is marked by depression, inappetence, fever and death. Bovine and ovine ophthalmitis have also been described (Walker & Morgan, 1993). Rarely, mastitis of ruminants has been associated with L. monocytogenes infection. Gastrointestinal infections can occasionally occur in sheep and goats (Clark et al., 2004). When listeriosis occurs in pigs, the primary manifestation is septicaemia, with encephalitis reported less frequently, and abortions rarely. Although birds are usually subclinical carriers, sporadic cases of listeriosis have been reported, most frequently septicaemia and far less commonly meningoencephalitis. Avian listeriosis may be the result of a secondary infection in viral disease conditions and salmonellosis (Wesley, 2007). Listeria monocytogenes occasionally infects fish (Czuprynski et al., 2010; Jami et al., 2014).

The post-mortem findings and histopathology in animal listeriosis depend on the clinical presentation. In the encephalitic form, the cerebrospinal fluid may be cloudy and the meningeal vessels congested. Gross lesions are generally subtle and characterised by vascular congestion and mild tan discoloration of the brainstem. On occasion, the medulla shows areas of softening (malacia) and abscessation. Characteristic histopathological changes consist of foci of intraparenchymal neutrophils and macrophages (microabscesses) in the brainstem with adjacent perivascular mononuclear cuffing. The microabscesses often affect one side more severely. More extensive malacic pathology may occur. The medulla and pons are most severely involved. In the septicaemic form, multiple foci of necrosis in the liver and, less frequently the spleen, may be noted. Aborted fetuses of ruminants show very few gross lesions, but autolysis may be present if the fetus was retained before being expelled (Low & Donachie, 1997; Walker, 1999).

The evidence indicates that animal listeriosis is frequently associated with stored forage and with the environment as the main source of contamination. In the environment, this saprophytic microorganism can live in soil, water, and decaying vegetables from which it could contaminate animal feed (Whitman et al., 2020). Silage (in silos and bunkers) is the most frequent source (Fenlon, 1985; Fenlon et al., 1996; Wiedmann et al., 1997a). Emphasis should therefore be placed on reducing the likelihood of the multiplication of the organism, which occurs more frequently at pH values of silage greater than 5.0, particularly where ineffective fermentation has occurred and where there is concomitant growth of moulds. Every effort should be made to produce silage of good quality, with early cutting of grass, minimal contamination with soil or faeces and ensuring optimal anaerobic fermentation, which will insure that the pH falls below 5.0; at that level, growth of Listeria spp. is inhibited. The best silage for feeding should be selected, especially in the case of sheep, discarding material that has obvious signs of contamination with mould. Material a few centimetres from the top, front and sides of an opened bale or bag, should also be discarded. Leftover silage should be removed (Low & Donachie, 1997). Barn equipment like bedding, water and feeding troughs can be contaminated at a higher rate than silage (Walland et al., 2015).

In septicaemic/abortive listeriosis, the intestinal mucosa is the main route of entry after oral ingestion. The incubation period can be as short as 1 day. In rhombencephalitis, L. monocytogenes likely invades the brainstem via cranial nerves after breaching of the oral mucosa (Walland et al., 2015). The pathogenesis of neurolisteriosis in ruminants is not at present entirely understood and the infectious dose has not been established (Walland et al., 2015). The incubation period is significantly longer than in the septicaemic form, usually 2–3 weeks. The course of the disease is usually acute in sheep and goats, 1–4 days (Roberts & Wiedmann, 2003), although it can be more protracted in cattle. Control measures in animals were described by Dhama et al. (2015).

Although L. monocytogenes has been recognised as an animal pathogen for many years, its significant role as a food-borne human pathogen became evident only in the 1980s, when a documented report of a Canadian listeriosis outbreak, traced to contaminated coleslaw, was published (Schlech et al., 1983). Data from this outbreak and the level of the contaminated coleslaw were used several years later to establish the microbiological criteria at 100 colony-forming units/g as the Codex Alimentarius level. Today, L. monocytogenes is considered to be one of the most important agents of food-borne disease. Eighty (de Noordhout et al., 2014). More than 110 outbreaks worldwide have been reported in the literature, including the largest one in South Africa in 2018. Although outbreaks have been reported from several countries, the majority of human cases are sporadic and represent a real challenge to controlling them definitively. Possible explanations for the emergence of human food-borne listeriosis as a major public health concern include major changes in agricultural methods and animal husbandry, food production, processing and distribution, increased use of refrigeration as a primary preservation means for foods, changes in human eating habits, particularly towards convenience and ready-to-eat foods, and an increase in the number of people considered to be at high risk for the disease (elderly, pregnant women, newborns, immunocompromised) (Rocourt & Bille, 1997; Swaminathan & Gerner-Smidt, 2007 Buchanan et al., 2016). If L. monocytogenes has been reported in several countries, its incidence depends on eating habits, cooking practices, use of refrigeration and food importation.

The invasive forms of listeriosis in humans include septicaemia, meningitis (or meningoencephalitis), and encephalitis (rhombencephalitis) (Charlier et al., 2017). Gastroenteric manifestations with fever also occur. Although the morbidity of listeriosis is relatively low, the mortality can reach values around 30% between 20 and 30%. In Europe, the hospitalisation rate is estimated at more than 95%. In pregnant women, infection may result in abortion, stillbirth or premature birth and may be preceded by influenza-like signs including fever (Charlier et al., 2017; Painter & Slutsker, 2007; Rocourt & Bille, 1997).

Listeria monocytogenes is a Gram-positive facultatively anaerobic rod and is responsible for almost all Listeria infections in humans; although rare cases of infection caused by L. ivanovii have been reported (Charlier et al., 2017). In animals, L. monocytogenes is responsible for the majority of infections, but L. ivanovii (abortion in ungulates such as cattle and sheep), L. innocua (encephalitis in sheep) and L. seeligeri infections have also been recorded. Listeria ivanovii has been associated with abortions and has been reported very occasionally to cause meningoencephalitis in sheep (Table 2). Although L. monocytogenes has definite zoonotic potential, it is also one of the main environmental contaminants of public health significance. The most feasible and practical means to reduce the risk of listeriosis in humans is through dietary and food preparation measures.

Subtyping of L. monocytogenes strains by a variety of methods is available for epidemiological investigations, but the fundamental question of whether all strains of L. monocytogenes are capable of causing disease remains unanswered (Graves et al., 2007; Jacquet et al., 2002; Lopez et al., 1992; 1993).

Table 2. Virulence of Listeria species

| Listeria species | Virulence in humans | Virulence in animals |
| --- | --- | --- |
| Listeria sensu stricto: |  |  |
| L. monocytogenes | + | + |
| L. ivanovii subsp. ivanovii | –a | + |
| L. ivanovii subsp. londoniensis | – | + |
| L. innocua | –b | – |
| L. welshimeri | – b | – |
| L. seeligeri | –b | + |
| L. grayi subsp. grayi | –b | – |
| L. grayi subsp. murrayi |  |  |
| Listeria sensu lato: |  |  |
| L. aquatica | – | – |
| L. booriae | – | – |
| L. cornellensis | – | – |
| L. costaricensis |  |  |
| L. fleischmannii subsp. coloradensis | – | – |
| L. fleischmannii subsp. fleischmanii |  |  |
| L. floridensis | – | – |
| L. goaensis | – | – |
| L. grandensis | – | – |
| L. marthii | – | – |
| L. newyorkensis | – | – |
| L. riparia | – | – |
| L. rocourtiae | – | – |
| L. thailandensis | – | – |
| L. weihenstephanensis | – | – |

a: only 11 human cases of infection reported; b: only 1 human cases of infection reported.

Several molecular virulence determinants have been identified that play a role in cellular infection by L. monocytogenes and the unravelling of their mechanism of action has made L. monocytogenes one of the most exciting models of host–pathogen interaction at the cellular and molecular levels. These virulence determinants include, among others, the internalins, listeriolysin O (LLO), ActA protein, two phospholipases, a metalloprotease, Vip protein, a bile exclusion system (BilE) and a bile salt hydrolase (Cabanes et al. 2005; Cossart & Toledo-Arana, 2008; Dussurget et al., 2002; Sleator et al., 2005). Although there is polymorphism among different strains of L. monocytogenes for some of these virulence determinants, it cannot be correlated with the ability or inability of the organism to produce disease (Jacquet et al., 2002). Nevertheless, Internalins A or B mediates entry of L. monocytogenes into some human-cultured cell lines and crossing of the intestinal in gerbil or transgenic mice expressing its receptor, human E-cadherin, in enterocytes. Some L. monocytogenes isolates express a truncated nonfunctional form of internalin. Jacquet et al. (2004) found that clinical strains from humans expressed full-length internalin A far more frequently (96%) than did strains recovered from food products (65%). Inside these clinical strains, serovar 4b, the most frequently implicated serovar in human listeriosis, expressed full-length internalin. Thus, a critical role of internalin in the pathogenesis of human listeriosis is established, and the expression of internalin is recognised as a marker of virulence in humans (Bonazzi et al., 2009; Jacquet et al., 2004).

Listeria monocytogenes is classified in Risk Group 2 for can infect humans infection. Laboratory manipulations should be carried out at an appropriate biosafety and containment level determined by risk analysis and should be handled with appropriate measures as described in Chapter 1.1.4 Biosafety and biosecurity: Standard for managing biological risk in the veterinary laboratory and animal facilities. Biocontainment measures should be determined by risk analysis as described in Chapter 1.1.4.

B.  DIAGNOSTIC TECHNIQUES

Table 3. Test methods available and their purpose

| Method | Purpose |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | Population freedom from infection | Individual animal freedom from infection prior to movement | Contribute to eradication policies | Confirmation of clinical cases | Prevalence of infection – surveillance | Immune status in individual animals or populations post-vaccination |
| Detection of the agent identification |  |  |  |  |  |  |
| Bacterial isolation and identification | ++ | ++ | ++ | ++ | ++ | – |
| PCR methods | +++ | +++ | +++ | ++ | +++ | – |
| Chromogenic isolation and identification media | +++ | +++ | +++ | +++ | +++ | – |
| MALDI-TOF MS | +++ | +++ | +++ | +++ | +++ | – |
| Detection of immune response |  |  |  |  |  |  |
| Serology | – | + | – | + | + | – |

Key: +++ = recommended for this purpose; ++ recommended but has limitations; 
+ = suitable in very limited circumstances; – = not appropriate for this purpose.

PCR = polymerase chain reaction; 
MALDI-TOF MS = matrix-assisted laser desorption ionisation–time of flight mass spectrometry

1.	Identification Detection and characterisation of the agent

There is a variety of conventional and rapid methods currently available for the detection and identification of L. monocytogenes in samples from the food chain (primary production samples, feed, food samples, and environmental samples) and specimens from animal listeriosis. As low levels of L. monocytogenes could be difficult to detect, methods could also target Listeria spp. that have been used as bioindicators of a higher risk of the presence of L. monocytogenes in food and plant environmental samples. For animals and humans, conventional bacteriological methods are important for various reasons: their use results in a pure culture of the organism, which is useful for regulatory, epidemiological surveillance and outbreak management purposes. They remain the ‘gold standards’ against which other methods are compared and validated. These methods are usually very sensitive and they do not require sophisticated and expensive equipment, allowing widespread use. Some of the disadvantages of this group of methods include the relatively long period of time that the protocols require for completion, several ‘hands-on’ manipulations, the requirement for many different chemicals, reagents and media, the possibility of contaminating microorganisms in the sample masking the presence of the target ones, including overgrowth, the potential overlook of atypical variants of the target organism and the relative subjectivity involved when interpreting bacterial growth typicality of colony on selective and differential agar plates (Andrews, 2002; Jadhav et al., 2012).

The isolation and identification of L. monocytogenes from samples from the food chain and specimens from animal listeriosis require the use of selective agents and enrichment procedures that keep the levels of contaminating competing microorganisms to reasonable numbers and allow for the multiplication of L. monocytogenes to levels that are enough for detection of the organism. In the early days of listerial clinical bacteriology, cold enrichment (Gray et al., 1948 Dhama et al., 2015) was regularly used to this end, exploiting the ability of the organism to multiply at refrigeration temperatures (around 4°C), whereas contaminating bacteria would not multiply under these conditions. However, this procedure requires very long incubation times, often months, making it unacceptable for current investigations This cold enrichment or a period of food-borne outbreaks and sporadic cases, as well as for freezing the implementation of effective hazard analysis critical control points (HACCP) programmes sample 
(≤–15°C, 15 days), can always be used for detection of L. monocytogenes in food production and processing establishments faeces of human or zoo animals. A number of selective compounds that allow growth of L. monocytogenes at normal classical incubation temperatures have been incorporated into culture media, shortening the time required for selective growth of the organism. Examples of these selective compounds include cycloheximide, colistin, cefotetan, fosfomycin, lithium chloride, nalidixic acid, acriflavine, phenylethanol, ceftazidime, polymixin B and moxalactam. Development of chromogenic media has allowed better isolation of this microorganism in samples from the food chain. When testing the presence of L. monocytogenes from primary production samples (faeces, environment, etc.) that contain huge amounts of competitor micro-organisms (including non-targeted species of Listeria genus, not differentiated on non-chromogenic isolation agar), the use of these chromogenic isolation media is crucial to avoid a strong underestimation of the prevalence of L. monocytogenes.

Bacteriological diagnosis of animal listeriosis has traditionally involved direct plating of specimens on blood agar or other enriched media and concomitant use of the ‘cold enrichment’ technique, with weekly subculturing for up to 12 weeks (Gray et al., 1948; Quinn et al., 1999; Dhama et al., 2015; Walker, 1999). Immunohistochemical detection of L. monocyte-genes antigens in formalin-fixed tissue has proven to be more sensitive than direct plating and cold enrichment bacterial culture for the diagnosis of the encephalitic form of the disease in ruminants (Campero et al., 2002; Johnson et al., 1995). This is also the case for diagnosis of rhomboencephalitis in humans. Nevertheless, in contrast to human medicine, in animals it is very difficult or not possible to isolate the microorganism from the cerebrospinal fluid or to identify the microorganism by polymerase chain reaction (PCR) in the cerebrospinal fluid. At present, therefore, confirmative diagnosis of listeric rhomboencephalitis in the living animal is not possible and is only achieved post-mortem by finding characteristic histopathological lesions or immunohistochemistry, bacterial isolation from the brainstem, or PCR on the brainstem.

In spite of advances made in the selective isolation of L. monocytogenes from samples from the food chain, there is still room for improvement in a number of areas. No single procedure can be credited with being sensitive enough to detect L. monocytogenes from all types of food (Donnelly & Nyachuba, 2007 Jadhav et al., 2012). In addition, sublethally injured L. monocytogenes cells can be found in processed food resulting from freezing, heating, acidification and other types of chemical or physical treatment. These sublethally injured and viable but not cultivable bacteria require special culture conditions for damage repair, before being able to be detected in culture.

The introduction of alternative enrichment procedures and selective agents for the isolation of L. monocytogenes from food and environmental samples has opened up the possibility of using some of these techniques for the bacteriological analysis of samples from animal listeriosis. Nevertheless, it should be stressed that performance characteristics cannot be ensured when these last methods are used outside the scope of their validation.

1.1.	Bacterial isolation methods

Conventional methods for the isolation of L. monocytogenes from samples from the food chain that have gained acceptance for international regulatory purposes include the United States Food and Drug Administration (FDA) method (Hitchins & Jinneman, 2011), the Association of Official Analytical Chemists (AOAC) official method (AOAC, 2012), the European Committee for standardization (CEN, EN) and the International Organization for Standardization (ISO) (ISO, 1996; 1998; 2005a; 2005b 2017a; 2017b); the Nordic Committee on Food Analysis (NMKL) method (NMKL, 2007); the United States Food and Drug Administration (FDA) method; and the United States Department of Agriculture (USDA) Food Safety and Inspection Service (FSIS) method (USDA-FSIS, 2013a; 2013b).

The EN ISO, FDA and USDA and AOAC methods shall should be used according to their respective scope but and cover a large variety of food and environmental matrices. Food samples intended for analysis must be representative from the food, including the outer surface and the interior internal part. The conventional culture methods include an enrichment procedure based on the use of liquid culture media containing selective agents. The various Association of Official Analytical Chemists (AOAC) method calls-certified methods call for different selective enrichment schemes containing different selective agents, and optimised for different enrichment duration and temperatures.

Depending on the nature of the sample, a particular method might be more suitable than others. The ISO Technical Committee ISO/TC 34, Agricultural Food Products, Subcommittee SC 9, Microbiology, in agreement with the EN CEN Technical committee CEN/TC275, Food analyses, Working group 6 TC 463, Microbiology of the food chain, claim that the (EN) ISO Standard 11290, parts 1 and 2 (ISO, 1996; 1998; 2005), internationally validated by interlaboratory studies, can be used for the detection of L. monocytogenes or Listeria spp. in a large variety of samples from the food chain: food and feed products but also samples from primary production and environmental samples (breeding) and food processing environment. Although they recognise that this standard might not be appropriate in every detail in certain very specific instances, they recommend that every effort should be made to apply this horizontal method as far as possible.

The principle of the EN ISO 11290 Part 1 amended method version 2017 for the detection of Listeria monocytogenes or Listeria spp. (ISO, 2005a), covering all food chain and primary production samples, is given. Briefly, after preparation of the test portion and initial suspension, the first stage is inoculation of a selective primary enrichment medium containing one volume of lithium chloride and half a volume of both acriflavine and nalidixic acid (half-Fraser broth), which is also used as a dilution fluid for the test portion. Incubate the test portion at 30±1°C for 24±3 25±1 hours. The second stage is inoculation of the full-strength secondary liquid enrichment medium (Fraser broth) with a culture obtained in the first stage. Incubate the Fraser broth at from 35±1°C to 37±1°C for 48±3 24±2 hours and with the possibility of 24 hours more, in case of detection of Listeria spp. other than L. monocytogenes. In the third stage, samples from the cultures obtained in the first and second stages are plated out on the two selective solid media: agar Listeria according to Ottaviani and Agosti (ALOA) and ALOA-like agar, which contains lithium chloride, nalidixic acid, ceftazidime, polymyxin B and amphotericin B (or cycloheximide), and any other solid selective medium at the choice of the laboratory, such as Oxford or PALCAM (polymixin-acriflavine-lithium chloride-ceftazidime-esculin-mannitol agar). Incubate the agar Listeria according to Ottaviani and Agosti agar at 37±1°C and examine after 24±3 2 hours to check for the presence of characteristic colonies that are presumed to be L. monocytogenes. Incubate an additional 24±2 hours at 37±1°C if their absence of typical colonies. Typical colonies of L. monocytogenes in agar Listeria according to Ottaviani and Agosti agar are green-blue surrounded by an opaque halo (ISO, 2005a). Oxford agar contains lithium chloride, cycloheximide, colistin, acriflavine, cefotetan and fosfomycin as selective agents, and typical colonies of Listeria spp. are small, black and surrounded by a black halo. Incubate the second selective medium at the appropriate temperature and examine after the appropriate time. Subculture the presumptive L. monocytogenes or Listeria spp. on a non-selective medium and confirm by means of appropriate morphological, physiological and biochemical tests described in the standard. For the enumeration method described in EN ISO 11290 Part 2 version 2017, only agar Listeria according to Ottaviani and Agosti shall be used (ISO, 2005b).

There are two general groups of chromogenic media for Listeria. The first group of media employs a chromogen that detects -D-glucosidase activity, which is indicative of Listeria species, and the formation of a distinct halo, indicative of the organism’s lecithin use, surrounding the colony is used to identify L. monocytogenes and L. ivanovii. Media in this group include ALOAagar Listeria according to Ottaviani and ALOA-like media Agosti. In the second group, a chromogenic substrate is used to detect phospatidylinositol-specific phospholipase C (PI-PLC) activity. With this group of agars, L. monocytogenes and some L. ivanovii cleave the chromogen and the remaining Listeria species remain white. In some media of this last group, sugar as xylose has been added to the media to distinguish between L. monocytogenes and L. ivanovii by the presence of a yellow halo surrounding the L. ivanovii colonies. Listeria monocytogenes develops blue colonies (PI-PLC positive) without a yellow halo (xylose negative) and L. ivanovii produces greenish-blue colonies (PI-PLC positive) with a yellow halo (xylose positive). Other Listeria spp. colonies are white (PI-PLC negative). No xylose and PI-PLC negative L. monocytogenes has been reported. Some L. ivanovii strains from sheep milk with a slow xylose activity could be difficult to differentiate from L. monocytogenes on some chromogenic media for Listeria.

For the FDA method (Hitchins & Jinnemans, 2011) described in chapter 10 (version 2017) of Bacteriological Analytical Manual (BAM), which can be accessed online, the buffered Listeria enrichment broth (BLEB) is the base enrichment. The Tryptone soya broth with yeast extract base has been supplemented with monopotassium phosphate to improve the buffering capacity, and pyruvic acid is added to aid in the recovery of stressed or injured cells. Analytical portions are pre-enriched in BLEB for 4 hours at 30°C, selective agents, acriflavin HCl (10 mg/litre), nalidixic acid (40 mg/litre) and cyclohexamide (50 mg/litre) are added and the enrichment is continued at 30°C for 48 hours. Enriched samples are streaked at 24 and 48 hours to one esculin-based selective/differential agar plate and one chromogenic selective agar plate. The esculin-based agar plates contain esculin and ferric iron such as Oxford or a modification, MOX agar (MOX), or lithium chloride/phenylethanol/moxalactam (LPM) supplemented with Fe3+. The option of a secondary chromogenic agar is also recommended. Subculture the Presumptive L. monocytogenes are subcultured and confirmed by means of appropriate morphological, physiological and, biochemical tests, and real-time PCR described in the method.

The USDA-FSIS method (version 2019) uses two enrichment steps (USDA-FSIS, 2013a; 2013b): the ‘primary’ enrichment is done in University of Vermont medium (UVM) containing nalidixic acid and acriflavine, and the ‘secondary’ enrichment is carried out in Fraser broth, containing nalidixic acid, lithium chloride and acriflavine or morpholine-propanesulfonic acid-buffered Listeria enrichment broth (MOPS-BLEB). Incubation conditions are described in this method and distinct depending on the matrix chosen for the enrichment step. After selective enrichment, cultures are then plated on MOX agar that contains lithium chloride, colistin and moxalactam. Subculture the Presumptive L. monocytogenes are subcultured and confirmed by means of appropriate morphological, physiological and biochemical tests described in the method.

For the NMKL 136 method (NMKL, 2007 version 2007)), primary enrichment in half-Fraser broth at 30°C for 24 hours, is followed by a secondary enrichment in Fraser broth at 37°C for 48 hours. The cultures obtained from both the enrichment steps are plated out on a L. monocytogenes-specific isolation medium, agar ALOA Listeria according to Ottaviani and Agosti or Listeria monocytogenes blood agar medium (LMBA) or chromogenic Listeria agar medium, which is basically like ALOAagar Listeria according to Ottaviani and Agosti, and on another solid selective isolation medium; the latter is optional. Subculture the presumptive L. monocytogenes and confirm by means of appropriate morphological, physiological and biochemical tests described in the standard.

All culture media prepared should be subjected to quality control, such as according to ISO 11133 standards for the preparation, production, storage and performance testing of culture media (ISO, 2003; 2009).

The original and traditional procedure for the isolation of L. monocytogenes from animal tissues has been direct plating of specimens on sheep blood agar or other rich culture media and concomitant use of the ’cold enrichment’ technique, with weekly subculturing for up to 12 weeks (Gray et al., 1948; Quinn et al., 1999; Dhama et al., 2015; Walker, 1999). The cold enrichment technique is not currently performed. Isolation of the organism by direct plating is relatively easy when numbers are large in a normally sterile site, such as in the case of the septicaemic form of the disease, but isolation is difficult when the organism is present in low numbers, as in the case of the encephalitic form or when samples are heavily contaminated.

For sampling and preparation of samples taken at the primary production stage in the aim of detection of L. monocytogenes or Listeria spp., ISO standards 13307 (Primary production Stage – Sampling techniques) and 6687-6 (Specific rules for the preparation of samples taken at the primary production stage) should be used.

In the case of animal listeriosis, the samples should be chosen according to the clinical presentation of the disease: material from lesions in the liver, kidneys or spleen, in the case of the septicaemic form; spinal fluid, pons and medulla in the case of the rhombencephalitic form; and placenta (cotyledons), fetal abomasal contents or uterine discharges in the case of abortion. Refrigeration temperatures (4°C) must be used for handling, storing and shipping specimens. If the sample is already frozen, it should be kept frozen until analysis.

The protocol recommended for isolation of L. monocytogenes from animal necropsy material is described below as originally published (Eld et al., 1993).

1.1.1.	Isolation procedure from animal necropsy material

i)	Inoculate 10–25 g or ml of sample (depending on the amount of sample available) into 225 ml Listeria enrichment broth. When dealing with samples from animal listeriosis, the size of the sample for inoculation may be limited and less than that recommended for food samples (25 g or ml). If that is the case, as much sample material as possible (aim at 10–25 g or ml) should be inoculated (Eld et al., 1993). (Listeria enrichment broth base: 30 g Oxoid tryptone soya broth; 6 g Difco yeast extract; 1 litre water; selective agents: 2.3 mg Acriflavine; 9.2 mg nalidixic acid; 11.5 mg cycloheximide; add selective agents to 225 ml of the broth base.)

ii)	Incubate broth at 30°C for 48 hours.

iii)	Spread 0.1 ml of the enrichment broth culture onto Oxford agar plates.

iv)	Incubate plates at 37°C. Examine bacterial growth after 24 and 48 hours.

v)	Test five colonies (or all when fewer available) with typical appearance of L. monocytogenes for cell shape, Gram reaction, haemolytic activity on blood agar (defibrinated horse blood), tumbling motility at 20°C, fermentation of glucose (+), rhamnose (+) and xylose (–), hydrolysis of esculin and production of catalase.

1.1.2.	Alternative protocol

Alternative protocols exist at the national level for veterinary laboratories; here is one example:

i)	Check that the sample has not been contaminated by the environment. If there is a doubt, sterilise with a Bunsen burner or cauterise with a brand, for example in the case of brain sample contaminated during extraction from skull. The test portion is homogenised in buffered-peptone water with a crusher to give a consistent initial suspension. Any sample that has not yet been crushed is stored at 2–8°C.

ii)	The initial suspension is inoculated in enrichment broth such as brain–heart broth or Rosenow broth. In parallel, it is spread, for direct observation, on modified Palcam and a Columbia sheep blood agar with nalidixic acid (15 mg/litre) and colistine sulphate (10 mg/litre), if it is presumed that the sample is not contaminated. The Palcam base is modified as follows: a supplement (containing 100,000 International Units of Polymyxin B sulphate, 20 mg ceftazidin, 5 mg acriflavin chlorhydrate, 200 mg of cycloheximide, and 10 ml of sterile water) is prepared, sterilised by filtration and 10 ml is added to 1000 ml of Palcam base medium.

iii)	Incubate at 37±1°C for 24 hours for liquid culture and 24–48 hours for solid media.

iv)	After 24 hours, if colonies presumed to be Listeria appear on the Petri plates, select them for further confirmation tests. If none is present, incubate the plates again in the same conditions for 24 hours. Enrichment broth is streaked on Palcam and Columbia sheep blood agar with nalidixic acid (15 mg/litre) and colistine sulphate (10 mg/litre), and incubated at 37±1°C for 24 hours. On Palcam and modified Palcam, expose the plates in the air for 1 hour to allow the medium to regain its pink to purple colour. After 24 hours, Listeria spp. grow on these last media as small or very small greyish green or olive green colonies, 1.5–2 mm in diameter, sometimes with black centres, but always with black halos. After 48 hours, Listeria spp. appear in the form of green colonies about 1.5–2 mm in diameter, with a central depression and surrounded by a black halo. On Columbia sheep blood agar with nalidixic acid and colistine sulphate, Listeria spp. grow as grey and flat colonies and L. monocytogenes presents a small haemolysis zone that could be observed after removing the colony. Listeria ivanovii presents a weak haemolytic activity around the colony.

v)	At 48 hours and 72 hours, if colonies presumed to be Listeria appear on Petri plates, select them for further confirmation tests. If there are five presumed Listeria colonies on the plate, select them all. If more than five presumed Listeria colonies are on the plate, pick five colonies only.

For faeces and silage, and placental envelop, there are two modifications to this last protocol.

For faeces and silage, a 1/10 suspension (25 g in 225 ml) is performed in half-Fraser broth and incubated at 30±1°C for 24 hours. At 24 hours, this suspension is streaked on modified Palcam and a subculture in Fraser broth at 0.1 ml in 10 ml is performed. Media are incubated at 37±1°C for 24 hours. At 48 hours, this incubated Fraser broth is streaked on modified Palcam and Petri plates are incubated at 37±1°C for 24–48 hours. Fraser broth is re-incubated at 37±1°C for 24 hours before to be streaked on modified Palcam.

For placental envelop, the test portion is diluted at 1/2 and 1/5 in buffered-peptone water and directly isolated on selective media. The Palcam is replaced, in this case, by modified Palcam.

ALOAAgar Listeria according to Ottaviani and Agosti, and other chromogenic media for Listeria allow the growth of most Listeria spp. and can are to be used in clinical microbiology to screen human or animal faeces (Dhama et al., 2015; Jadhav et al., 2012).

1.2.	Culture-based Conventional identification methods

Typical Listeria spp. colonies, on the above selective/differential agar plates or preferably after isolation on a non-selective medium, are then selected for further identification to the species level, using a battery of tests. The tests include the Gram-staining reaction, catalase, motility (both in a wet mount observed under phase-contrast microscopy and by inoculation into semi-solid motility agar [0.2–0.4% agar] or U/Graigie’s tube), haemolysis and carbohydrate use (Tables 3 and 4).

To observe of tumbling motility, a hanging drop preparation is made from a young broth culture, such as tryptone soya yeast extract broth, and incubated at room temperature for 8–24 hours. When semi-solid motility agar is used after stab inoculation (about 1 cm) and incubation at 20–28°C, listeriae swarm through the medium, which becomes cloudy. At about 0.5 cm below the surface of the agar, a characteristic layer of increased growth is observed, like an umbrella. This occurs because of the better development of Listeria under aerobic conditions as opposed to strictly anaerobic conditions.

For haemolysing activity, horse and sheep blood-containing agar plates shall be used. After incubation at 37°C for 24 hours and inoculation by stabbing piercing the medium, L. ivanovii exhibits a wide zone of haemolysis. The haemolysis zone of L. monocytogenes is narrow, frequently not extending much beyond the edge of colonies. In this case, removal of the colonies could help interpretation. Rare strains of L. monocytogenes are not haemolytic and rare strain of L. innocua are haemolytic.

The Christie–Atkins–Munch–Peterson (CAMP) test is a very useful tool to help identify the species of a Listeria spp. isolate. It is used required in the ISO standards and some AOAC protocols and it is considered to be optional in the FDA and USDA-FSIS methods. The test is simple to perform and easy to read. It consists of streaking a ß-haemolytic Staphylococcus aureus (ATCC strain 49444 or 25923, NCTC strain 7428 or 1803) and Rhodococcus equi (ATCC strain 6939, NCTC strain 1621) in single straight lines in parallel, on a sheep blood agar plate or a double-layered agar plate with a very thin blood agar overlay. The streaks should have enough separation to allow test and control Listeria strains to be streaked perpendicularly, in between the two indicator organisms, without quite touching them (separated by 1–2 mm). After incubation for 24–48 hours at 35–37°C (12–18 hours if using the thin blood agar overlay), a positive reaction consists of an enhanced zone of ß-haemolysis, at the intersection of the test/control and indicator strains. Listeria monocytogenes is positive with the S. aureus streak and negative with R. equi, whereas the test with L. ivanovii gives the reverse reactions (Quinn et al., 1999 Jadhav et al., 2012).

Within the genus Listeria, ten species have been taxonomically described: Listeria monocytogenes, L. ivanovii subsp. ivanovii and subsp. londoniensis, L. welshimeri, L. innocua, L. seeligeri, L. grayi subsp. grayi and subsp. murrayi, L. marthii, L. rocourtiae, L. weihenstephanensis, L. fleischmannii subsp. fleischmannii and susbp. coloradensis. New species (L. rocourtiae, L. marthii, L. weihenstephanensis, L. fleischmannii subsp. fleischmannii and susbp. coloradensis) are mostly isolated from environmental samples and are rare (den Bakker et al., 2013). Listeria fleischmannii could be isolated in primary production sample and soil of plants or cellar.

Within the genus Listeria, twenty species have been taxonomically described: Listeria sensu stricto, comprising the species Listeria monocytogenes, L. innocua, L. welshimeri, L. seeligeri, L. ivanovii and L. marthii, and (ii) Listeria sensu lato, comprising the species L. grayi, L. rocourtiae, L. fleischmannii, L. weihenstephanensis, L. floridensis, L. aquatica, L. cornellensis, L. riparia, L. grandensis, L. booriae, L. newyorkensis, L. costaricensis, L. goaensis and L. thailandensis (Orsi & Wiedmann, 2016). New species (L. rocourtiae, L. marthii, L. weihenstephanensis, L. fleischmannii subsp. fleischmannii and susbp. Coloradensis, L. newyorkensis) are mostly isolated from environmental samples and are rare. Listeria fleischmannii could be isolated in primary production samples from farms and soil from plants or cellars.

Table 4. Principal characteristics of the main Listeria species sensu stricto

| Test | Listeria spp. reaction |
| --- | --- |
| Gram stain | Positive |
| Cell morphology | Short (0.4-0.5 µm × 0.5-2.0 µm) nonspore forming rod with or without a few peritrichous flagella |
| Growth conditions | Aerobic and facultative anaerobic |
| Motility | Positive tumbling motility or in umbrella in motility agar at 20–28°C, negative at 37°C |
| Catalase | Positive |
| Oxidase | Negative |
| Aesculin hydrolysis | Positive |
| Indole | Negative |
| Urease | Negative |

Table 5. Differentiation of main Listeria species sensu stricto

| Species | -haemolysis | Production of acid from |  |  | Christie, Atkins, Munch-Petersen (CAMP) reaction on sheep blood with |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | L-Rhamnose | D-Xylose | D-Mannitol | S. aureus | R. equi |
| L. monocytogenes | +* | +** | – | – | + | –*** |
| L. innocua | –**** | V | – | – | – | – |
| L. ivanovii subsp. ivanovii | + | – | + | – | – | + |
| L. ivanovii subsp. londoniensis | + | – | + | – | – | + |
| L seeligeri | (+) | – | + | – | (+) | – |
| L. welshimeri | – | V | + | – | – | – |
| L. grayi subsp. grayi | – | – | – | + | – | – |
| L. grayi subsp. murrayi | – | + | – | + | – | – |

V: variable; (+): weak reaction; +: >90% positive reactions; –: no reaction.

*Rare strains of L. monocytogenes are not haemolytic;

**Some lineage III strains of L. monocytogenes, which are primarily associated with animal listeriosis, are rhamnose negative;

***Rare strains are S+ and R+. The R+ reaction is less pronounced than that of L. ivanovii;

****rare strains of L. innocua are haemolytic.

Serology, DNA macrorestriction, multi-locus sequence typing (MLST) and the animal model pathogenicity assay are considered to be optional methods. Liu et al. (2007) reviewed the virulence test for L. monocytogenes and tried to define its virulence.

1.3.	Rapid identification methods

The following protocols include conventional and nonconventional commercially available tests, and nucleic acid assay kits, to help in the identification of L. monocytogenes (Jadhav et al., 2012 Valimaa et al., 2015). PCR, targeting the hly gene, has been found to be a sensitive and rapid technique for confirmation of the identification of suspect L. monocytogenes isolated on selective/differential agar plates (Gouws & Liedemann, 2005 Dhama et al., 2015; Jadhav et al., 2012).

Alternative commercially available methods for identification have been validated by one or more recognised formal validation systems, such as AOAC, MicroVal, Nordval International and Afnor Certification (AFNOR certification, 2013; AOAC, 2012; Lombard & Leclercq, 2011; Microval, 2013; NordVal international, 2013). A new standard ISO 16140-6 was published in 2019 for the validation of alternative methods for microbiological confirmation and typing procedures in the Microbiology of the food chain. The list is growing steadily as new technologies are exploited for application to the needs of laboratories. Regular updates of these alternative methods are published online on the websites of validation/certification bodies, together with key references and scope, validation status and certification of the method. For the validation of these methods, sets of strains of L. monocytogenes that reflect the diversity of this bacteria (https://foodsafety.foodscience.cornell.edu/research-and-publications/ilsi-collection/) has to be used but an additional set to reflect the diversity for animal origin needs to be established and also used.

Chromogenic In addition to the chromogenic isolation media, chromogenic confirmation media or broth for identification of L. monocytogenes have been developed. They are mostly based on detection of PI-PLC activity and fermentation of L-rhamnose. A presumed L. monocytogenes colony is selected and spread on a form of band (2 cm). Listeria monocytogenes shows a PI-PLC activity and a yellow zone of L-rhamnose fermentation. Rare strains of L. monocytogenes are rhamnose negative.

A system is commercially available for the presumptive identification of Listeria species isolated from samples from the food chain. It provides an alternative to conventional biochemical testing of Listeria spp. isolates by the reference methods. It is based on testing miniaturised microtubes on a strip or a card that give reactions by fermentation, utilisation or enzymatic activity, which can be detected after 24 hours at 37°C. For biochemical identification, differentiation of Listeria species is based on a code derived after adding the numerical values for each group of several tests and, an additional test such as the reactions obtained from the CAMP test and haemolysis characteristics, which are assayed separately. A commercial method based on the presence or absence of arylamidase, distinguishes between L. monocytogenes and L. innocua without the need for further tests for haemolytic activity.

Identification can be done by sequencing the 16S rDNA or iap genes (Bubert et al., 1999 Dhama et al., 2015; Jadhav et al., 2012). After extraction of DNA with commercial kits, an end point PCR for 16S rDNA or iap genes is performed. PCR products are purified and sequenced with a sequencer in the laboratory. The sequence is compared with DNA database accessible via the internet using blast. Recently, a quantitative real-time PCR assay for the identification of isolates has been added to the online BAM manual of FDA methods http://www.fda.gov/Food/FoodScienceResearch/LaboratoryMethods/ucm279532.htm

Identification can be also done by whole genome sequencing of the strain and determination of the species of this strain by comparison of its genomic sequence with other reference genomics sequences of each Type strains of Listeria species by the use of the average nucleotide identity based on BLAST (Basic Local Assignment Search Tool), called ANIb. Several tools are freely available on the internet. This identification at genus and/or species level is highly accurate at a taxonomical level.

An alternative method for the rapid identification of Listeria species is the matrix-assisted laser desorption ionisation–time of flight mass spectrometry (MALDI-TOF MS), which is increasingly being used worldwide in microbiology laboratories. MALDI-TOF MS identification systems are based on the comparison of the tested isolate mass spectrum for proteins, and also for lipids, with reference databases. Several databases and identification strategies have been developed. For Listeria isolates, the genus and species could be accurately and rapidly identified but not with a validation of one MALDI-TOF MS for Listeria system by the species (Farfour et al., 2012 WHO Collaborating Centre (Thouvenot et al., 2018) and AOAC: First Action 2017.10.

1.4.	Alternative methods PCR methods for detection of Listeria

A number of methods based on immunological tests or on nucleic acid recognition have been developed to detect L. monocytogenes in samples from the food chain (Jadhav et al., 2012). Some of them have been validated by one or more recognised formal validation systems, such as AOAC, MicroVal, Nordval International and Afnor Certification (Afnor certification, 2013; AOAC, 2012; Dunbar et al., 2003; Lombard & Leclercq, 2011; Microval, 2013; NordVal international, 2013; Sewell et al., 2003). A regular update of these alternative methods is published online together with key references and the validation status and certification of the method.

Target DNA sequences for diagnostic purposes include the hly gene, the iap gene and 16S rDNA gene in a PCR and or real-time qPCR. Target ribosomal RNA sequences, in higher copies per cell than DNA, and the use of isothermal PCR format is a new promising development for diagnostic purposes. The USDA-FSIS method MLG8A.05 describes the use of PCR to screen foods for L. monocytogenes and is based on the use of BAX assay for Screening Listeria monocytogenes.

Alternative methods based on PCR-based methods for the detection of Listeria shall should be validated and used with quality control according to OIE guidelines described in the OIE Terrestrial manual and/or rules or guidelines described in regional or national regulation in accordance with Chapter 2.2.3. Development and optimisation of nucleic acid detection assays.

1.5.	Antimicrobial susceptibility testing

Listeria monocytogenes is intrinsically resistant to cephalosporins (cefazolin, ceftiofur, cefpirome), quinolones (nalidixic acid and early fluoroquinolone such as ofloxacine), fosfomycine and clindamycine. Acquired resistance has been rarely identified. Most of the isolates are susceptible to Penicillin G, amoxicilline, aminoglycosides (gentamicin), tetracyclines, phenicols, trimethoprim and sulfonamides, rifampin, glycopeptides (vancomycin) (Granier et al., 2011; Troxler et al., 2000; Luque-Sastre et al., 2018). At very low frequencies, resistance to tetracycline has been identified from various sources: beef meat, beef processing plants, pork cheeks, and sheep. Resistance to erythromycin was also identified in environmental and food samples. Remarkably, no resistance to penicillins has been evidenced to date (Granier et al., 2011).

Susceptibility testing is usually indicated for bacterial pathogens when they induce infection requiring antimicrobial treatment and if organism identification is not enough to reliably predict the outcome of this treatment. For treatment of L. monocytogenes infection, susceptibility to antimicrobial agents is still predictable, and therapy is widely deployed on an empirical basis. Nevertheless, susceptibility test can be a valuable tool for epidemiological studies, or to evaluate new antimicrobial agents. Moreover, as L. monocytogenes is considered a fastidious organism to grow, methodologies for antimicrobial susceptibility tests and interpretation used to be poorly standardised and the rare published studies might have sometimes been questionable.

Recently, those methodology issues have been addressed by two different institutions. In Europe, Eucast (www.eucast.org) proposed in 2011 a methodology for L. monocytogenes susceptibility testing by disc diffusion. In the USA, two documents from the Clinical and Laboratory Standards Institute (www.clsi.org), M31-A3 regarding susceptibility tests of bacteria from animals and M45-A2 regarding susceptibility tests of fastidious bacteria, provide guidelines and interpretation criteria to assess susceptibility of L. monocytogenes by the broth microdilution method.

1.6.	Subtyping methods

Most regulatory detection controls of L. monocytogenes do not require any specific subtyping of the isolates. However, subtyping schemes can be useful in outbreak investigations, environmental tracking, control of recurrent or persistent clone(s) in a plant, and public health investigations surveillance.

Listeria monocytogenes can be has traditionally been subtyped by a number of different approaches including serotyping, phage typing, DNA restriction enzyme analysis (either using high-frequency cutting enzymes and conventional gel electrophoresis to separate fragments, or using rare-cutting enzymes and pulse-field gel electrophoresis [PFGE] to separate fragments), and nucleic acid sequencing-based typing, microarray analysis. Whole genome sequencing (WGS) is now used routinely to subtype L. monocytogenes.

Because of the requirement for specific reagents, stringent quality assurance procedures and some sophisticated equipment, it is recommended that subtyping of L. monocytogenes isolates be referred to the appropriate reference centre laboratories. These reference laboratories could be set at the national, regional or international levels. At the international level, there is only one WHO Collaborating Centre for Listeria.

1.6.1.	Serotyping and genoserotyping (PCR group)

Strains of L. monocytogenes can be assigned to 13 different serovars (1/2a, 1/2b, 1/2c, 3a, 3b, 3c, 4a, 4b, 4ab, 4c, 4d, 4e, and 7), based on their combination of somatic (O) and flagellar (H) antigens, according to the Seeliger & Höhne protocol (1979). Serotyping antigens are shared among L. monocytogenes, L. innocua, L. seeligeri and L. welshimeri. There is only one commercial kit with all these antifactor sera (Denka Seiken, Tokyo, Japan). Although all of them are considered to be potentially pathogenic, most (>95%) human clinical isolates belong to three serovars 1/2a, 1/2b, and 4b. Compared with other subtyping methods, serotyping has poor discriminatory power, but can provide valuable information to facilitate the ruling out of isolates that are not part of an outbreak or an investigation on a human sporadic case. Isolates from foods and from environmental sources are frequently nontypable using commercial standard antifactor sera and require additional sera. In this case, typing could be performed at the WHO Collaborating Centre for Listeria foodborne listeriosis (Institut Pasteur, Paris).

Because serotyping is not cost-effective, necessitates technical expertise and antisera, it is now often substituted by a quick and reproducible PCR-based method, developed by Doumith et al. (2004), which targets the four five DNA fragments prs, ORF2110, ORF2819, lmo1118, lmo0737. This last genoserotyping method is now internationally recognised and validated. All Listeria species but L. rocourtiae possess an amplifiable prs gene fragment. PCR serogroup IIa comprises strains of serovars 1/2a and 3a (amplification of prs and lmo0737 DNA fragments); PCR serogroup IIb comprises strains of serovars 1/2b, 3b, and 7 (amplification of the prs and ORF2819 DNA fragments); PCR serogroup IIc comprises strains of serovars 1/2c and 3c (amplification of prs, lmo0737 and lmo1118 DNA fragments); PCR serogroup IVb comprises strains of serovars 4b, 4d and 4e (amplification of prs, ORF2819 and ORF2110 DNA fragments). Finally, PCR serogroup L comprises strains of other serovars of L. monocytogenes and other species, except L. rocourtiae. This PCR genoserotyping is now performed in silico directly from the genomic sequence of the strain (Moura et al., 2016).

1.6.2.	Lineage

After serotyping, L. monocytogenes can be classified into three lineages, of which lineage I encompasses serovars 1/2b, 3b, 4b, 4d and 4e; lineage II includes serovars 1/2a, 1/2c, 3a, and 3c; and lineage III comprises serovars 4a, 4c and atypical 4b, according to Wiedmann et al. (1997b). The lineage status of serovars 4ab and 7 remains unclear due to limited availability of such strains. Within the lineage III, three genetically distinct subgroups (IIIA, IIIB, and IIIC) have been identified after comparative analysis of actA and sigB gene sequences. Phenotypically, lineage IIIa strains be-have like typical L. monocytogenes in their ability to ferment rhamnose, whereas lineages IIIB and IIIc strains are notably deficient in rhamnose utilisation. Lineages I and II are involved in the documented human listeriosis cases and lineage III are rarely associated with outbreaks despite their frequent isolation from food and environmental specimens. Lineage I and II isolates seem to be similarly prevalent in animals. Lineage I is more virulent than lineage II and specific genes potentially associated with central nervous systems infections in ruminants between lineages I and II were described (Aguilar-Bultet et al., 2018). Recently, lineage IIIB has been reclassified as lineage IV because it is significantly different from lineage IIIA and IIIC to warrant being its own lineage.

1.6.3.	Chromosomal DNA restriction endonuclease analysis

Restriction endonuclease analysis (REA) of chromosomal DNA is a useful subtyping method for L. monocytogenes. As these enzymes are highly specific in recognising nucleotide sequences, the resulting DNA digestion fragments, of different size and electrophoretic mobility, reflect genomic differences, resulting in specific ‘fingerprints’ among otherwise related strains. Because of the restriction endonuclease specificity, the method is highly reproducible. Of the restriction endonucleases tested on L. monocytogenes in a WHO Multicentre study, HaeIII, HhaI and CfoI were the most useful (Bille & Rocourt, 1996; Graves et al., 2007). However, because of a potentially large number of enzyme recognition sites in the bacterial genome, sometimes complex fingerprints evolve, with overlapping or poorly resolved bands that are difficult to interpret. The technique is therefore not adequate for comparing a large number of strain patterns or for building dynamic databases (Graves et al., 2007).

By combining REA with Southern hybridisation, using chromosomal-labelled probes, only the particular restriction fragments associated with the corresponding chromosomal loci are detected, thereby significantly reducing the number of DNA fragments to be analysed. This technique is known as restriction fragment length polymorphism (RFLP) analysis. When ribosomal RNA/DNA probes are used, only the particular restriction fragments associated with the chromosomal loci for rRNA are detected. This technique is known as ribotyping and it One of these REA method, ribotyping, has been widely used for subtyping L. monocytogenes, mainly through the use of the restriction endonuclease EcoRI. However, the technique was found to be less discriminating than phage typing, REA or multilocus enzyme electrophoresis (MEE). Qualicon has designed an automated ribotyping system, the RiboPrinter, which generates, analyses and stores riboprint patterns of bacteria, including Listeria, but have a poor discriminatory power.

When restriction endonuclease enzymes that cut infrequently are used to digest unsheared chromosomal DNA, such as ApaI, SmaI, NotI and AscI, very large fragments are obtained. Because of their size, these large fragments do not separate when run under conventional agarose gel electrophoresis. However, by periodically changing the orientation of the electric field across the gel, through pulses, the large fragments can ‘crawl’ through the agarose matrix and are separated according to size differences. This technique is known as pulsed-field gel electrophoresis (PFGE) and has revolutionised the precise separation of DNA fragments larger than 40 kilobases. PFGE has been applied to the subtyping of L. monocytogenes and has been found to be a highly discriminating and reproducible method. PFGE is was particularly useful for subtyping serotype 4b isolates, which are not satisfactorily subtyped by most other subtyping methods before genomic area. The main disadvantages of PFGE are the time required to complete the procedure (2–3 days), the large quantities of expensive restriction enzymes required, and the need for specialised, expensive equipment (Graves et al., 2007). The Centers for Disease Control and Prevention (CDC) in the USA has established PulseNet, a network of public health and food regulatory laboratories at the national or international levels that routinely subtype food-borne pathogenic bacteria by PFGE. PulseNet laboratories use highly standardised protocols for PFGE of Listeria with endonuclease enzymes ApaI and AscI, and can quickly compare PFGE patterns from different locations via the Internet restriction profile picture exchange using internet. Listeria monocytogenes was added to PulseNet in 1999 (Graves & Swaminathan, 2001) and the last protocol published in 2009 (Halpin et al., 2009). In Europe, the European Centre for Disease Prevention and Control (ECDC) and the European Food Safety Authority (EFSA) are building databases with PGFE profiles of L. monocytogenes isolated from human cases and food and veterinary sources, respectively, with the aim of investigating transnational or cross-border outbreaks. Since 2017, pulsed field gel electrophoresis with endonuclease enzymes AscI and ApaI for L. monocytogenes has been progressively replaced by methods of subtyping using WGS (Moura et al., 2016).

1.6.4.	Nucleic acid sequence-based and whole genome sequencing typing

Although there have been some reports on the sequence analysis of single genes as a means to type L. monocytogenes strains, determination of allelic variation of multiple genes, has been recently introduced as a very promising subtyping methodology for this microorganism. This approach has been reported for a handful of other microorganisms and it is known as multi-locus sequence typing (MLST) (Chenal-Francisque et al., 2011; Ragon et al., 2008; Salcedo et al., 2003; Spratt, 1999). Direct amplification and nucleotide sequencing has been used with good discrimination between the strains analysed. Because MLST is based on nucleotide sequence, it is highly more discriminatory and provides unambiguous results. MLST allowed definition of a sequence type (ST) or clonal complex (CC), which gives a view of the phylogenetic structure of the population and phylogeny inside a population of isolates. Some of this clonal complex has been implicated in outbreaks or could be linked to clinical forms that give the risk manager additional information on isolates. New information form whole genome sequencing that could be used in research and molecular surveillance of Listeria may change this view in the coming years (den Bakker et al., 2010). Recent advancements have enhanced understanding of the virulence potential associated with different ST/CC of L. monocytogenes, and identified hypervirulent (such as CC1, CC2, CC4, CC6) and hypovirulent (such as CC9, CC121) clones (Maury et al., 2016). Listeria monocytogenes ST1 of CC1 has been found to be strongly associated with rhombencephalitis, which could indicate an increased neurotropism of ST1 in ruminants (Dreyer et al., 2016). Finally, hypervirulent L. monocytogenes clones have adapted to mammalian gut, which accounts for their association with dairy products (Maury et al., 2019).

Subtyping by WGS analysis of L. monocytogenes strains by a variety of methods such as core genome MLST or single-nucleotide polymorphisms, is available for epidemiological investigations (Chen et al., 2017; Moura et al., 2016; Ruppitsch et al., 2015). Definitions of L. monocytogenes clones and clusters using whole genome diversity have been proposed (Moura et al., 2016). Continuing efforts in WGS and functional analysis of human, food and environment isolates are needed to gain more insights into the important subject of the virulence of L. monocytogenes isolates or clonal complexes.

Compared with gel-based methods, WGS analysis is more phylogenetically relevant. Some WGS analytical approaches have targeted the entire genome of L. monocytogenes (Moura et al., 2016), while others have targeted the core genome (Moura et al., 2016). Different genomic variations have been targeted: single nucleotide polymorphisms, allelic profiles, and k-mers. Moura et al. (2016) defines, with unprecedented precision, the population structure of L. monocytogenes, demonstrates the occurrence of international circulation of strains and reveals the extent of heterogeneity in virulence and stress resistant genomic features among clinical and food isolates. The implementation of WGS for global epidemiological surveillance has assisted investigations of numerous listeriosis outbreaks.

The development, management and curation of international databases of standardised and reliable WGS subtyping results and their metadata of isolates from different origins (clinical isolates of human origin, food and feed isolates, isolates from animals/veterinary surveillance, isolates from the farm and factory environment) contributes to the understanding of the transmission pathways, rapidly identifying the source of an outbreak and managing the pathogen (Moura et al., 2016; Whitman et al., 2020). The next step in the surveillance for the identification of animal sources of an outbreak and the investigation of listeriosis outbreaks is the use of artificial intelligence or machine learning such as for Salmonella.

2.	Serological tests

Serological tests for the detection of antibodies have not been traditionally used for the diagnosis of listeriosis. They have been largely unreliable, lacking sensitivity and specificity. A number of formats, including enzyme-linked immunosorbent assay (ELISA), dot-blot and microagglutination (Gruber-Widal reaction) have been largely unsuccessful in the diagnosis of culture-proven human listeriosis, even in the absence of immunosuppression. Considerable cross-reactivity with antigenic determinants of other Gram-positive organisms has been observed. On the other hand, L. monocytogenes is a ubiquitous organism, and regular exposure of animals and humans to this microorganism is very common. Many healthy individuals are intestinal carriers (2–6%) and anti-L. monocytogenes serum antibody prevalence as high as 53% have been reported in humans. Carriage rate for animals is similar to that of humans, with some differences depending on the species and a slightly higher rate during the indoor season, as compared to animals on pasture (Husu, 1990; Iida et al., 1991 Dhama et al., 2015).

The discovery that the L. monocytogenes haemolysin, listeriolysin O (LLO), is a major virulence factor and that it can stimulate an antibody response, has recently renewed interest in the possibility of using serological tests for the diagnosis of listeriosis, particularly in central nervous system patients, with sterile blood and cerebrospinal fluid, and in perinatal listeriosis. An indirect ELISA based on the detection of anti-LLO was used for the diagnosis of experimental listeriosis in sheep (Low et al., 1992). However, LLO is antigenically related to a number of cytolysins, including streptolysin O (SLO) from Streptococcus pyogenes, pneumolysin from S. pneumoniae and perfringolysin from Clostridium perfringens. Problems of cross-reactivity of anti-LLO antibodies with these cytolysins, particularly SLO and pneumolysin, have hampered the development of specific reliable serological tests based on the detection of anti-LLO antibodies. In addition, anti-LLO antibodies have been found in a proportion of healthy individuals and patients with other bacterial, fungal or viral infections (27%, all combined), although at lower titres than in patients with listeriosis. Absorption of diagnostic antisera with SLO is only partially effective in eliminating all cross-reactivity. These experimental assays have been used in some epidemiological investigations and as support for the diagnosis of culture-negative central nervous system infections. Recombinant forms of LLO have been explored as alternatives to wild LLO as a diagnostic antigen in dot-blot assays (Lhopital et al., 1993). Full validation of these serological tests for the diagnosis of listeriosis is needed but a sera biobank needs to be developed.

C.  REQUIREMENTS FOR VACCINES

It has proven very difficult to develop effective vaccines against L. monocytogenes which, as a facultative intracellular microorganism, requires effector T cells for an effective immune response. Experimental vaccines in laboratory animals are being explored to confer protection to L. monocytogenes infection by a number of different approaches, but these are still far from becoming available for human or farm animal use. These experimental approaches include immunisation with plasmid DNA, CD40 signalling along with heat-killed L. monocytogenes, LLO-deficient mutants inoculated along with liposome-encapsulated LLO, RNAi technology and immunisation with listerial antigens and IL-12 (Dhama et al., 2015).

Genetically modified L. monocytogenes is also being considered as an effective vaccine vector for the expression, secretion and intracellular delivery of foreign antigens for the induction of potent immune responses against viral antigens and tumour cells.

However, the most feasible and practical means to reduce the risk of listeriosis in humans is through dietary and food preparation measures that not only decrease the risk of acquiring listeriosis, but also contribute to the prevention of other common food-borne infections such as those caused by Escherichia coli O157:H7, Salmonella and Campylobacter. These preventive measures include thorough cooking of raw food of animal origin, keeping uncooked meats separate from vegetables, cooked foods, and ready-to-eat foods, thoroughly washing raw vegetables before eating, washing hands, knives, and cutting boards after handling uncooked foods, and avoiding unpasteurised milk or products made from it. Immunocompromised and elderly persons, pregnant women and other groups at increased risk of listeriosis should avoid foods that have been epidemiologically linked to this disease, e.g. soft cheeses, cold smoked fish and pâté. These individuals should also avoid other ready-to-eat foods, unless they are heated until steaming hot before being consumed.

The food industry and public health agencies play a pivotal role in the prevention of food-borne listeriosis by developing and implementing effective HACCP programmes to reduce the presence of L. monocytogenes at all critical points in the food production and distribution chain (from the farm to the market).

Likewise, The lack of well designed and tested vaccines for animal use, means that control of listeriosis in animals is most feasible by preventing the environmental conditions that favour its presentation. There is a well-established linkage between silage feeding and listeriosis and, as L. monocytogenes is widely distributed in nature, with animals and birds acting as carriers, contamination of silage is not uncommon. Emphasis should therefore be placed on reducing the likelihood of the multiplication of the organism, which occurs more frequently at pH values greater than 5, particularly where ineffective fermentation has occurred and where there is concomitant growth of moulds. Every effort should be made to produce silage of good quality, with early cutting of grass, minimal contamination with soil or faeces and ensuring optimal anaerobic fermentation, which will insure that the pH falls below 5.0; at that level, growth of Listeria spp. is inhibited. The best silage for feeding should be selected, especially in the case of sheep, discarding material that has obvious signs of contamination with mould. Material a few centimetres from the top, front and sides of an opened bale or bag, should also be discarded. Leftover silage should be removed (Low & Donachie, 1997).

REFERENCES

Andrews W. (2002). Current State of Conventional Microbiological Methodology for the Examination of Food. In: Workshop 102–15. Microorganisms in Foods: Now What? American Society for Microbiology, Washington, DC, USA.

AFNOR Certification, NF Validation (2013 2019). Validation AFNOR des méthodes alternatives d’analyse. Liste des méthodes validées en 2013 2019. La Plaine Stade de France, France. http://www.afnor-validation.org/afnor-validation-agroalimentaire/agroalimentaire.html

Aguilar-Bultet L., Nicholson P., Rychener L., Dreyer M., Gözel B., Origgi F.C., Oevermann A., Frey J. & Falquet L. (2018). Genetic Separation of Listeria monocytogenes Causing Central Nervous System Infections in Animals. Front. Cell. Infect. Microbiol., 8, 20.

AOAC International (2012). Official methods of analysis. Chapter 17: Listeria. AOAC, Gaithersburg, MD, USA.

Bille J. & Rocourt J. (1996). WHO International Multicenter Listeria monocytogenes Subtyping Study – rationale and set-up of the study. Int. J. Food Microbiol., 32, 251–262.

Bonazzi M., Lecuit M. & Cossart P. (2009). Listeria monocytogenes internalin and E-cadherin: from structure to pathogenesis. Cell. Microbiol., 11, 693–702.

Bubert A., Hein I., Rauch M., Lehner A., Yoon B., Goebel W. & Wagner M. (1999). Detection and differentiation of Listeria spp. by a single reaction based on multiplex PCR. Appl. Environ. Microbiol., 65, 4688–4692.

Buchanan R., Gorris L., Hayman M., Jackson T. & Whiting R. (2016). A Review of Listeria monocytogenes: An Update on Outbreaks, Virulence, Dose–response, Ecology, and Risk Assessments. Food Control., 75, 10.1016/j.foodcont.2016.12.016.

Cabanes D., Sousa S., Cebriá A., Lecuit M., García-del Portillo F. & Cossart P. (2005). Gp96 is a receptor for a novel Listeria monocytogenes virulence factor, Vip, a surface protein. The EMBO Journal, 24 (15), 2827–2838.

Campero C.M., Odeón A.C., Cipolla A.L., Moore D.P., Poso M.A. & Odriozola E. (2002). Demonstration of Listeria monocytogenes by immunohistochemistry in formalin-fixed brain tissues from natural cases of ovine and bovine encephalitis. J. Vet. Med. [B], 49, 379–383.

Charlier C., Perrodeau É., Leclercq A., Cazenave B., Pilmis B., Henry B., Lopes A., Maury M.M., Moura A., Goffinet F., Dieye H.B., Thouvenot P., Ungeheuer M.N., Tourdjman M., Goulet V., de Valk H., Lortholary O., Ravaud P., Lecuit M. & MONALISA study group (2017). Clinical features and prognostic factors of listeriosis: the MONALISA national prospective cohort study. Lancet Infect. Dis., 17, 510–519.

Chen Y., Luo Y., Carleton H., Timme R., Melka D., Muruvanda T., Wang C., Kastanis G., Katz L.S., Turner L., Fritzinger A., Moore T., Stones R., Blankenship J., Salter M., Parish M., Hammack T.S., Evans P.S., Tarr C.L., Allard M.W., Strain E.A. & Brown E.W. (2017). Whole Genome and Core Genome Multilocus Sequence Typing and Single Nucleotide Polymorphism Analyses of Listeria monocytogenes Isolates Associated with an Outbreak Linked to Cheese, United States, 2013. Appl. Environ. Microbiol., 83, pii: e00633-17

Chenal-Francisque V., Lopez J., Cantinelli T., Caro V., Tran C., Leclercq A., Lecuit M. & Brisse S. (2011). Worldwide distribution of major clones of Listeria monocytogenes. Emerg. Infect. Dis., 17, 1110–1112.

Clark R.G., Gill J.M. & Swanney S. (2004). Listeria monocytogenes gastroenteritis in sheep. NZ Vet. J., 52, 46–47.

Cossart P. & Toledo-Arana A. (2008). Listeria monocytogenes, a unique model in infection biology: an overview. Microbes infection, 10, 1041–1050.

Czuprynski C.J., Kathariou S. & Poulsen K. (2010). Chapter 10: Listeria. In: Pathogenesis of Caterial Infections in Animals, Fourth Edition, Gyles C.L., Prescott J.F., Songer J.G., & Thoen C.O., eds. Blackwell Publishing, USA.

de Noordhout C.M., Devleesschauwer B., Angulo F.J., Verbeke G., Haagsma J., Kirk M., Havelaar A. & Speybroeck N. (2014). The global burden of listeriosis: a systematic review and meta-analysis. Lancet Infect. Dis., 14, 1073–1082.

den Bakker H.C., Cummings C.A., Ferreira V., Vatta P., Orsi R. H., Degoricija L., Barker M., Petrauskene O., Furtado M.R. & Wiedmann M. (2010). Comparative genomics of the bacterial genus Listeria: Genome evolution is characterized by limited gene acquisition and limited gene loss. BMC Genomics, 11, 688.

den Bakker H.C., Manuel C.S., Fortes E.D., Wiedmann M. & Nightingale K.K. (2013). Genome sequencing identifies Listeria fleischmannii subsp. coloradensis subsp. nov., a novel Listeria fleischmannii subspecies isolated from a ranch in Colorado. Int. J. Syst. Evol. Microbiol., 63 (Pt 9), 3257–3268.

Dhama K., Karthik K., Tiwari R., Shabbir M.Z., Barbuddhe S., Malik S.V. & Singh R.K. (2015). Listeriosis in animals, its public health significance (food-borne zoonosis) and advances in diagnosis and control: a comprehensive review. Vet Q., 35, 211–235.

Donnelly C.W. & Nyachuba D.G. (2007). Conventional methods to detect and isolate Listeria monocytogenes. In: Listeria, Listeriosis, and Food Safety, Third Edition, Ryser E.T. & Marth E.H., eds. CRC Press, Taylor & Francis Group, Boca Raton, Florida, USA, 215–256.

Doumith M., Buchrieser C., Glaser P., Jacquet C. & Martin P. (2004). Differentiation of the major Listeria monocytogenes serovars by multiplex PCR. J. Clin. Microbiol., 42, 3819–3822.

Dreyer M., Aguilar-Bultet L., Rupp S., Guldimann C., Stephan R., Schock A., Otter A., Schüpbach G., Brisse S., Lecuit M., Frey J. & Oevermann A. (2016). Listeria monocytogenes sequence type 1 is predominant in ruminant rhombencephalitis. Sci. Rep., 6, 36419.

Dunbar S.A., Vander Zee C.A., Oliver K.G., Karem K.L. & Jacobson J.W. (2003). Quantitative multiplexed detection of bacterial pathogens: DNA and protein applications of the Luminex LabMAP system. J. Microbiol. Methods, 53, 245–252.

Dussurget O., Cabanes D., Dehoux P., Lecuit M., Buchrieser C., Glaser P. & Cossart P. (2002). Listeria monocytogenes bile salt hydrolase is a PrfA-regulated virulence factor involved in the intestinal and hepatic phases of listeriosis. Mol. Microbiol., 45, 1095–1106.

Eld K., Danielsson-Tham M.-L., Gunnarsson A. & Tham W. (1993). Comparison of a cold enrichment method and the IDF method for isolation of Listeria monocytogenes from animal autopsy material. Vet. Microbiol., 36, 185–189.

Farfour E., Leto J., Barritault M., Barberis C., Meyer J., Dauphin B., B. Le Guern B., Lefleche A., Badell E., Guiso N., Leclercq A., Le Monnier A., Lecuit M., Rodriguez-Nava V., Bergeron E., Raymond J., Vimont S., Bille E., Carbonnelle E., Guet-Revillet H., Lecuyer H., Beretti J. L., Vay C., Berche P., Ferroni A., Nassif X. & Join-Lambert O. (2012). Evaluation of the Andromas matrix-assisted laser desorption ionization-time of flight mass spectrometry system for identification of aerobically growing Gram-positive bacilli. J. Clin, Microbiol., 50, 2702–2707.

Fenlon D.R. (1985). Wild birds and silage as reservoirs of Listeria in the agricultural environment. J. Appl. Bacteriol., 59, 537–543.

Fenlon D.R., Wilson J. & Donachie W. (1996). The incidence and level of Listeria monocytogenes contamination of food sources at primary production and initial processing. J. Appl. Bacteriol., 81, 641–650.

Gouws P.A. & Liedemann I. (2005). Evaluation of diagnostic PCR for the detection of Listeria monocytogenes in food products. Food Technol. Biotechnol., 43, 201–205.

Granier S.A., Moubareck C., Colaneri C., Lemire A., Roussel S., Dao T.T., Courvalin P. & Brisabois A. (2011). Antimicrobial resistance of Listeria monocytogenes isolates from food and the environment in France over a 10-year period. Appl. Environ. Microbiol., 77, 2788–2790.

Graves L.M., Swaminathan B. & Hunter S.B. (2007). Subtyping Listeria monocytogenes. In: Listeria, Listeriosis, and Food Safety, Third Edition, Ryser E.T. & Marth E.H., eds. CRC Press, Taylor & Francis Group, Boca Raton, Florida, USA, 283–304.

Gray M.L., Stafseth J., Thorp Jr F., Sholl L.B. & Riley W.F. (1948). A new technique for isolating Listerellae from the bovine brain. J. Bacteriol., 55, 471–476.

Halpin J.L., Garrett N.M., Ribot E.M., Graves L.M. & Cooper K.L. (2009). Re-evaluation, optimization, and multilaboratory validation of the PulseNet-standardized pulsed-field gel electrophoresis protocol for Listeria monocytogenes. Foodborne Pathog. Dis., 7, 293–298.

Hird D.W. & Genigeorgis C. (1990). Listeriosis in food animals: clinical signs and livestock as a potential source of direct nonfoodborne infection for man. In: Foodborne Listeriosis, Miller A.J., Smith J.L. & Somkutti G.A., eds. Elsevier, Amsterdam, The Netherlands, 31–39.

Hitchins A.D. & Jinneman K. (2011). Chapter 10. Detection and Enumeration of Listeria monocytogenes. In: Bacteriological Analytical Manual. http://www.fda.gov/Food/FoodScienceResearch/LaboratoryMethods/ucm071400.htm

Husu J.R. (1990). Epidemiological studies on the occurrence of Listeria monocytogenes in the feces of dairy cattle. J. Vet. Med. [B], 37, 276–282.

Iida T., Kanzaki M., Maruyama T., Inoue S. & Kaneuchi C. (1991). Prevalence of Listeria monocytogenes in intestinal contents of healthy animals in Japan. J. Vet. Med. Sci., 53, 873–875.

ISO (1996). Microbiology of food and animal feeding stuffs – Horizontal method for the detection and enumeration of Listeria monocytogenes – Part 1: Detection method. International Standard ISO 11290-1, Geneva, Switzerland.

ISO (1998). Microbiology of food and animal feeding stuffs – Horizontal method for the detection and enumeration of Listeria monocytogenes – Part 2: Enumeration method. International Standard ISO 11290–2, Geneva, Switzerland.

ISO (2003). Microbiology of food and animal feeding stuffs – Guidelines on preparation and production of culture media – Part 1: General guidelines on quality assurance for the preparation of culture media in the laboratory. International Standard ISO/TS 11133-1, Geneva, Switzerland.

ISO (2005a). Microbiology of food and animal feeding stuffs – Horizontal method for the detection and enumeration of Listeria monocytogenes – Part 1: Detection method. International Standard ISO 11290-1, Amendment 1, Geneva, Switzerland.

ISO (2005b). Microbiology of food and animal feeding stuffs – Horizontal method for the detection and enumeration of Listeria monocytogenes – Part 2: Enumeration method. International Standard ISO 11290-2, AMENDMENT 1, Geneva, Switzerland.

ISO (2009). Microbiology of food and animal feeding stuffs – Guidelines on preparation and production of culture media – Part 2: Practical guidelines on performance testing of culture media International Standard ISO/TS 11133-2, Geneva, Switzerland.

Jacquet C., Gouin E., Jeannel D., Cossart P. & Rocourt J. (2002). Expression of ActA, Ami, InlB, and listeriolysin O in Listeria monocytogenes of human and food origin. Appl. Environ. Microbiol., 68, 616–622.

Jacquet C., Doumith M., Gordon J. I., Martin P. M., Cossart P. & Lecuit M. (2004). A molecular marker for evaluating the pathogenic potential of foodborne Listeria monocytogenes. J. Infect. Dis., 189, 2094–2100.

Jadhav S., Bhave M. & Palombo E.A. (2012). Methods used for the detection and subtyping of Listeria monocytogenes. J. Microbiol. Methods, 88, 327–341.

Jami M., Ghanbari M., Zunabovic M., Domig K.J. & Kneifel W. (2014). Listeria monocytogenes in Aquatic Food products – A review. Compr. Rev. Food Sci. Food Saf., 13, 798–813.

Johnson G.C., Fales W.H., Maddox C.W. & Ramos-Vera J.A. (1995). Evaluation of laboratory tests for confirming the diagnosis of encephalitic listeriosis in ruminants. J. Vet. Diagn. Invest., 7, 223–228.

Lhopital S., Marly J., Pardon P. & Berche P. (1993). Kinetics of antibody production against listeriolysin O in sheep with listeriosis. J. Clin. Microbiol., 31, 1537–1540.

Liu D., Lawrence M.L., Ainsworth A.J. & Austin F.W. (2007). Toward an improved laboratory definition of Listeria monocytogenes virulence. Int. J. Food. Microbiol., 118, 101–115.

Lombard B. & Leclercq A. (2011). Validation of innovative food microbiological methods according to the EN ISO 16140 standard. Food Analytical Methods, 4, 163–172.

Lopez J., Karpowicz E., Hargrove W. & Becker S. (1992). Comparison of the Intestinal Cell Uptake of Listeria monocytogenes Strains Isolated From Human Clinical Cases of Listeriosis and From Meat Products, 92nd General Meeting Abstracts, American Society for Microbiology, P-38, 330.

Lopez J., Singh U., Karpowicz E., Hargrove W. & Adams S. (1993). Comparison of the Intracellular Survival and Multiplication of Listeria monocytogenes Strains Isolated from Human Clinical Cases of Listeriosis and From Meat Products, 93rd General Meeting Abstracts, American Society for Microbiology, P-80, 346.

Low J.C., Davies R.C. & Donachie W. (1992). Purification of listeriolysin O and development of an immunoassay for diagnosis of listeric infection in sheep. J. Clin. Microbiol., 30, 2505–2708.

Low J.C. & Donachie W. (1997). A review of Listeria monocytogenes and listeriosis. Vet. J., 153, 9–29.

Luque-Sastre L., Arroyo C., Fox E.M., McMahon B.J., Bai L., Li F. & Fanning S. (2018). Antimicrobial resistance in Listeria species. Microbiol. Spectrum, 6, ARBA-0031-2017.

Maury M.M., Tsai Y.H., Charlier C., Touchon M., Chenal-Francisque V., Leclercq A., Criscuolo A., Gaultier C., Roussel S., Brisabois A., Disson O., Rocha E.P.C., Brisse S. & Lecuit M. (2016). Uncovering Listeria monocytogenes hypervirulence by harnessing its biodiversity. Nat. Genet., 48, 308–313.

Maury M.M., Bracq-Dieye H., Huang L., Vales G., Lavina M., Thouvenot P., Disson O., Leclercq A., Brisse S. & Lecuit M. (2019). Hypervirulent Listeria monocytogenes clones’ adaptation to mammalian gut accounts for their association with dairy products. Nat. Commun., 10, 2488.

Microval (2013). MICROVAL validated and certified alternative microbiological methods. NEN, Microval Secretariat, Delft, The Netherlands. http://www.microval.org/contact.html

Moura A., Criscuolo A., Pouseele H., Maury M.M., Leclercq A., Tarr C., Björkman J.T., Dallman T., Reimer A., Enouf V., Larsonneur E., Carleton H., Bracq-Dieye H., Katz L.S., Jones L., Touchon M., Tourdjman M., Walker M., Stroika S., Cantinelli T., Chenal-Francisque V., Kucerova Z., Rocha E.P., Nadon C., Grant K., Nielsen E.M., Pot B., Gerner-Smidt P., Lecuit M. & Brisse S. (2016). Whole genome-based population biology and epidemiological surveillance of Listeria monocytogenes. Nat. Microbiol., 2, 16185.

NMKL (2007). Method no. 136, Fourth Edition, Listeria monocytogenes. Detection in foods and feeding stuffs and enumeration in foods. NMKL, Secretary General, c/o Norwegian Veterinary Institute, Oslo, Norway.

Nordval International (2013). List of methods. NMKL, Oslo, Norway. http://www.nmkl.org/

Orsi R.H. & Wiedmann M. (2016). Characteristics and distribution of Listeria spp., including Listeria species newly described since 2009. Appl. Microbiol. Biotechnol., 100, 5273–5287.

Painter J. & Slutsker L. (2007). Listeriosis in humans. In: Listeria, Listeriosis, and Food Safety, Third Edition, Ryser E.T. & Marth E.H., eds. CRC Press, Taylor & Francis Group, Boca Raton, Florida, USA, 85–110.

Quinn P.J., Carter M.E., Markey B. & Carter G.R. (1999). Clinical Veterinary Microbiology. Mosby International, Edinburgh, Scotland, UK.

Ragon M., Wirth T., Hollandt F., Lavenir R., Lecuit M., Le Monnier A. & Brisse S. (2008). A new perspective on Listeria monocytogenes evolution. PLoS Pathog., 4:e1000146.

Roberts A.J. & Wiedmann M. (2003). Pathogen, host and environmental factors contributing to the pathogenesis of listeriosis. Cell. Mol. Life Sci., 60, 904–918.

Rocourt J. & Bille J. (1997). Foodborne listeriosis. World Health Stat. Q., 50, 67–73.

Ruppitsch W., Pietzka A., Prior K., Bletz S., Fernandez H.L., Allerberger F., Harmsen D. & Mellmann A. (2015) Defining and Evaluating a Core Genome Multilocus Sequence Typing Scheme for Whole-Genome Sequence-Based Typing of Listeria monocytogenes. J. Clin. Microbiol., 53, 2869–2876.

Salcedo C., Arreaza L., Alcala B., De La Fuente L. & Vazquez J.A. (2003). Development of a multilocus sequence typing method for analysis of Listeria monocytogenes clones. J. Clin. Microbiol., 41, 757–762.

Schlech W.F. 3rd, Lavigne P.M., Bortolussi R.A., Allen A.C., Haldane E.V., Wort A.J., Hightower A.W., Johnson S.E., King S., Nicholls E.S. & Broome C.V. (1983). Epidemic listeriosis – evidence for transmission by food. N. Engl. J. Med., 318, 203–206.

Seeliger H.P.R. & Höhne K. (1979). Serotyping of Listeria monocytogenes and related species. In: Methods in Microbiology, Volume 13, Bergan T. & Norris J. R., eds. Academic Press, London, UK, New York, USA.

Sewell A.M., Warburton D.W., Boville A., Daley E.F. & Mullen K. (2003). The development of an efficient and rapid enzyme linked fluorescent assay method for the detection of Listeria spp. from foods. Int. J. Food Microbiol., 81, 123–129.

Sleator R.D., Wemekamp-Kamphuis H.H., Gahan C.G.M., Abee T. & Hill C. (2005). A PrfA-regulated bile exclusion system (BilE) is a novel virulence factor in Listeria monocytogenes. Mol. Microbiol., 55, 1183–1195.

Spratt B.G. (1999). Multilocus sequence typing: molecular typing of bacterial pathogens in an era of rapid DNA sequencing and the internet. Curr. Opin. Microbiol., 3, 312–316.

Swaminathan B. & Gerner-Smidt P. (2007). The epidemiology of human listeriosis. Microbes Infect., 9, 1236–1243.

Thouvenot P., Vales G., Bracq-Dieye H., Tessaud-Rita N., Maury M.M., Moura A., Lecuit M. & Leclercq A. (2018). MALDI-TOF mass spectrometry-based identification of Listeria species in surveillance: A prospective study. J Microbiol. Methods, 144, 29–32.

Troxler R., von Graevenitz A., Funke G., Wiedemann B. & Stock I. (2000). Natural antibiotic susceptibility of Listeria species: L. grayi, L. innocua, L. ivanovii, L. monocytogenes, L. seeligeri and L. welshimeri strains. Clin. Microbiol. Infect., 6, 525–535.

USDA-FSIS (2012). Procedure for the use of a Listeria monocytogenes PCR Screening Test. In: Microbiology Laboratory Guidebook, 8A.05, 1–4. Available online:

http://www.fsis.usda.gov/wps/portal/fsis/topics/science/laboratories-and-procedures/guidebooks-and-methods/microbiology-laboratory-guidebook#.UcLqZazHnlc

USDA-FSIS (2013a). Isolation and Identification of Listeria monocytogenes from Red Meat, Poultry, Egg and Environmental Samples. In: Microbiology Laboratory Guidebook, 8.09 pp 1–20, Available online:

http://www.fsis.usda.gov/wps/portal/fsis/topics/science/laboratories-and-procedures/guidebooks-and-methods/microbiology-laboratory-guidebook#.UcLqZazHnlc

USDA-FSIS (2013b). Flow charts for Isolation and Identification of Listeria monocytogenes from Red Meat, Poultry, Egg and Environmental Samples. In: Microbiology Laboratory Guidebook, 8 appendix 1.01. Available online:

http://www.fsis.usda.gov/wps/portal/fsis/topics/science/laboratories-and-procedures/guidebooks-and-methods/microbiology-laboratory-guidebook#.UcLqZazHnlc

Valimaa A.L., Tilsala-Timisjarvi A. & Virtanen E. (2015). Rapid detection and identification methods for Listeria monocytogenes in the food chain – A review. Food Control, 55, 103–114.

Walland J., Lauper J., Frey J., Imhof R., Stepahn R., Seuberlich T. & Oevermann A. (2015). Listeria monocytogenes infection in ruminants: is there a link to the environment, food and human health? A review. Schweiz. Arch. Tierheilkd., 157, 319–328.

Walker R.L. (1999). Listeria. In: Veterinary Microbiology, Hirsh D.C. & Zee Y.C., eds. Blackwell Science, Malden, Massachusetts, USA, 225–228.

Walker J.K. & Morgan J.H. (1993). Ovine ophthalmitis associated with Listeria monocytogenes. Vet. Rec., 132, 636.

Wesley I.V. (2007). Listeriosis in animals. In: Listeria, Listeriosis, and Food Safety, Third Edition, Ryser E.T. & Marth E.H., eds. CRC Press, Taylor & Francis Group, Boca Raton, Florida, USA, 55–84.

Wiedmann M., Arvik T., Bruce J.L., Neubauer J., Del Piero F., Smith M.C., Hurley J., Mohammed H.O. & Batt C.A. (1997a). Investigation of a listeriosis epizootic in sheep in New York State. Am. J. Vet. Res., 58, 733–737.

Wiedmann M., Bruce J.L., Keating C., Johnson A.E., McDonough P.L. & Batt C.A. (1997b). Ribotypes and virulence gene polymorphisms suggest three distinct Listeria monocytogenes lineages with differences in pathogenic potential. Infect. Immun., 65, 2707–2716.

Whitman K.J., Bono J.L., Clawson M.L., Loy J.D., Bosilevac J.M., Arthur T.M. & Ondrak J.D. (2020). Genomic-based identification of environmental and clinical Listeria monocytogenes strains associated with an abortion outbreak in beef heifers. BMC Vet. Res., 16, 70.

Yang X., Noyes N.R., Doster E., Martin J.N., Linke LM, Magnuson RJ, Yang H, Geornaras I, Woerner DR, Jones K.L., Ruiz J., Boucher C., Morley P.S. & Belk K.E. (2016). Use of Metagenomic Shotgun Sequencing Technology to Detect Foodborne Pathogens within the Microbiome of the Beef Production Chain. Appl. Environ. Microbiol., 82, 2433–2443.

*
*   *

NB: First adopted in 2004; Most recent updates adopted in 2014.

AOAC International (2019). Official methods of analysis. Chapter 17: Listeria. AOAC, Gaithersburg, MD, USA. http://www.eoma.aoac.org/

ISO (2017). Microbiology of the food chain – Horizontal method for the detection and enumeration of Listeria monocytogenes and of Listeria spp. – Part 1: Detection method. International Standard ISO 11290–1, Geneva, Switzerland.

ISO (2017). Microbiology of the food chain – Horizontal method for the detection and enumeration of Listeria monocytogenes and of Listeria spp. – Part 2: Enumeration method. International Standard ISO 11290–2, Geneva, Switzerland.

Food and Drug Administration (2017). Chapter 10: Detection of Listeria monocytogenes in foods and environmental samples, and Enumeration of Listeria monocytogenes in foods. In: Bacteriological Analytical Manual (BAM). Hitchins A.D., Jinneman K. & Chen Y. Available online: https://www.fda.gov/food/laboratory-methods-food/bam-detection-and-enumeration-listeria-monocytogenes

Food and Drug Administration (2018). BAM Protocol: Simultaneous confirmation of Listeria species and L. monocytogenes isolates by real-time PCR. In: Bacteriological Analytical Manual (BAM), Available online: http://www.fda.gov/Food/FoodScienceResearch/LaboratoryMethods/ucm279532.htm

USDA-FSIS (2019). Isolation and Identification of Listeria monocytogenes from Red Meat, Poultry, Egg and Environmental Samples. In: Microbiology Laboratory Guidebook, MBLG 8.11 pp 1–18, Available online: https://www.fsis.usda.gov/wps/wcm/connect/1710bee8-76b9-4e6c-92fc-fdc290dbfa92/MLG-8.pdf?MOD=AJPERES

NMKL (2007). Method no. 136, Fourth Edition, Listeria monocytogenes. Detection in foods and feeding stuffs and enumeration in foods. NMKL, Secretary General, c/o Norwegian Veterinary Institute, Oslo, Norway

WHO: World Health Organization

Available from Qualicon-Dupont, Wilmington, USA.

Eurocast: www.eucast.org

Institut Pasteur, Paris, France

AFNOR: Association Française de Normalisation

AOAC: Association of Official Analytical Chemists

ISO: International Organization for Standardization

Microval: European Validation and Certification Organisation

NMKL: Nordic Committee on Food Analysis

USDA-FSIS: United States Department of Agriculture – Food Safety and Inspection Service